Another, and perhaps more clear, way to present the Energy and Waste Sector material would be to segregate the method for achieving the result (e.g. an RPS) with the behavior shift that actually achieves the result (e.g. shifting generation from system mix to biomass or LFG).  This avoids confusion over what efforts duplicate other efforts.  I would, using this approach, restate the table on p. 3 as follows:

EW1	Electricity Generation	2010				2020		Cost

Generation shift potential:		MTCO				MTCO		$/ton

1.  Biomass

a. restart			269				269		$15-17

b. keep existing		574				574		$15

2.  Increase co-gen			86				38		$15

3.  Energy efficiency (less usage)	317				422		$-185

4.  Increase other "clean" gen (e.g.

wind)				??				??		??

Total gen shift potential		1246+				1303+

Methods to achieve shift:

(Not cumulative; not additive to gen shift potential)

1.  RPS				247				527		$10

2.  SBC				334				689		$30

3.  State Green Purchases		31				45		$28

4.  Regional Cap and Trade

a.  10 state cap (10%)		397				351		$19

b.  7 state cap (25%)		376				755		$-74

EW2  Waste Management		2010				2020		Cost

[As shown on p. 3]			511				1057

Total Available Savings		2010				2020

[Note:  adds total gen shift potential to waste management potential]

1757+				2360+

NOTE:  ALL NUMBERS ARE ROUGH ESTIMATES TO BE USED PRIMARILY FOR ESTABLISHING RELATIONSHIPS AMONG MEASURES.  ACTUAL PERFORMANCE AND COST MAY DIFFER SIGNIFICANTLY.